## TMY
Time	P [mbar]	T [ºC]	DNI [W/m2]	Rel Hum [%]	Wind speed [m/s]	Declination / [°]	Hour angle / [°]	Latitude / [°]	Zenith / [°]	Azimuth / [°]	Elevation / [°]	Optical Eff / [-]	q_field / [MWt/m2]
420	846.9166666667	11.65	0	48.85	1.6333333333	-0.4029191447	-3.1110493917	-1.2124139088	1.5261089534	3.1134678739	0.0446873734	0.13558663	0
1320	846.6041666667	11.4375	0	48.9791666667	1.5916666667	-0.40290625	-3.0455995447	-1.2124139088	1.5247854493	3.053213295	0.0460108775	0.1387565	0
2220	846.2916666667	11.225	0	49.1083333333	1.55	-0.4028933422	-2.9801496978	-1.2124139088	1.5220848939	2.9929988437	0.0487114329	0.14536666	0
3120	845.9791666667	11.0125	0	49.2375	1.5083333333	-0.4028804216	-2.9146998508	-1.2124139088	1.5180183308	2.9328510236	0.052777996	0.1553698	0
4020	845.6666666667	10.8	0	49.3666666667	1.4666666667	-0.402867488	-2.8492500039	-1.2124139088	1.5126022881	2.8727944417	0.0581940387	0.16887363	0
4920	845.1083333333	10.5791666667	0	49.5458333333	1.4333333333	-0.4028545414	-2.7838001569	-1.2124139088	1.505858612	2.812851098	0.0649377148	0.18585267	0
5820	844.55	10.3583333333	0	49.725	1.4	-0.4028415819	-2.71835031	-1.2124139088	1.4978142537	2.753039731	0.0729820731	0.20610526	0
6720	843.9916666667	10.1375	0	49.9041666667	1.3666666667	-0.4028286094	-2.652900463	-1.2124139088	1.4885010172	2.6933752317	0.0822953096	0.22955665	0
7620	843.4333333333	9.9166666667	0	50.0833333333	1.3333333333	-0.402815624	-2.5874506161	-1.2124139088	1.4779552761	2.6338681332	0.0928410507	0.25612047	0
8520	843.45	9.7458333333	0	50.3666666667	1.3416666667	-0.4028026256	-2.5220007691	-1.2124139088	1.4662176701	2.5745241819	0.1045786567	0.2856657	0
9420	843.4666666667	9.575	0	50.65	1.35	-0.4027896143	-2.4565509222	-1.2124139088	1.4533327889	2.5153439904	0.1174635379	0.31812074	0
10320	843.4833333333	9.4041666667	0	50.9333333333	1.3583333333	-0.40277659	-2.3911010752	-1.2124139088	1.439348855	2.4563227709	0.1314474718	0.35338518	0
11220	843.5	9.2333333333	0	51.2166666667	1.3666666667	-0.4027635527	-2.3256512283	-1.2124139088	1.424317413	2.3974501451	0.1464789138	0.38839666	0
12120	843.5875	9.0916666667	0.9166666667	51.3541666667	1.3583333333	-0.4027505026	-2.2602013813	-1.2124139088	1.4082930344	2.3387100241	0.1625032924	0.40302997	3.69444139166667E-07
13020	843.675	8.95	1.8333333333	51.4916666667	1.35	-0.4027374394	-2.1947515344	-1.2124139088	1.3913330455	2.2800805506	0.1794632813	0.4188933	0.000000768
13920	843.7625	8.8083333333	2.75	51.6291666667	1.3416666667	-0.4027243633	-2.1293016874	-1.2124139088	1.3734972834	2.2215340955	0.1972990434	0.43551046	1.197653765E-06
14820	843.85	8.6666666667	3.6666666667	51.7666666667	1.3333333333	-0.4027112743	-2.0638518405	-1.2124139088	1.3548478866	2.1630373003	0.2159484402	0.45282497	1.66035822333334E-06
15720	843.9583333333	9.3666666667	63.5	49.5791666667	1.3416666667	-0.4026981723	-1.9984019935	-1.2124139088	1.3354491234	2.1045511584	0.2353472034	0.47077868	2.989444618E-05
16620	844.0666666667	10.0666666667	123.3333333333	47.3916666667	1.35	-0.4026850574	-1.9329521466	-1.2124139088	1.3153672605	2.0460311289	0.2554290663	0.4893119	6.03484676666665E-05
17520	844.175	10.7666666667	183.1666666667	45.2041666667	1.3583333333	-0.4026719295	-1.8675022996	-1.2124139088	1.294670474	1.987427278	0.2761258528	0.50836342	9.31152330966668E-05
18420	844.2833333333	11.4666666667	243	43.0166666667	1.3666666667	-0.4026587887	-1.8020524527	-1.2124139088	1.2734288031	1.9286844464	0.2973675237	0.5278706	0.0001282726
19320	845.0166666667	12.5583333333	343.7916666667	40.2541666667	1.2583333333	-0.4026456349	-1.7366026057	-1.2124139088	1.2517141454	1.8697424438	0.3190821813	0.54776934	0.0001883185
20220	845.75	13.65	444.5833333333	37.4916666667	1.15	-0.4026324682	-1.6711527588	-1.2124139088	1.229600294	1.8105362721	0.3411960328	0.55627724	0.0002473116
21120	846.4833333333	14.7416666667	545.375	34.7291666667	1.0416666667	-0.4026192885	-1.6057029118	-1.2124139088	1.2071630112	1.7509963879	0.3636333156	0.56441137	0.0003078159
22020	847.2166666667	15.8333333333	646.1666666667	31.9666666667	0.9333333333	-0.4026060959	-1.5402530649	-1.2124139088	1.184480138	1.6910490113	0.3863161888	0.5727998	0.0003701241
22920	846.9875	16.6791666667	655.9583333333	30.3416666667	0.7916666667	-0.4025928904	-1.4748032179	-1.2124139088	1.1616317326	1.6306164996	0.4091645942	0.58190819	0.0003817075
23820	846.7583333333	17.525	665.75	28.7166666667	0.65	-0.4025796719	-1.409353371	-1.2124139088	1.1387002323	1.5696178034	0.4320960945	0.59099716	0.0003934564
24720	846.5291666667	18.3708333333	675.5416666667	27.0916666667	0.5083333333	-0.4025664404	-1.343903524	-1.2124139088	1.1157706313	1.5079690297	0.4550256955	0.6000397	0.0004053518
25620	846.3	19.2166666667	685.3333333333	25.4666666667	0.3666666667	-0.402553196	-1.2784536771	-1.2124139088	1.0929306629	1.4455841418	0.4778656638	0.60900828	0.0004173737
26531	845.6958333333	20.1375	699.75	24.4083333333	0.5416666667	-0.4025397766	-1.2122038876	-1.2124139088	1.0699955248	1.3815978235	0.500800802	0.61798238	0.0004324332
27447	845.0916666667	21.0583333333	714.1666666667	23.35	0.7166666667	-0.4025262701	-1.1455904878	-1.2124139088	1.0472189531	1.3163180082	0.5235773737	0.62612269	0.000447156
28388	844.4875	21.9791666667	728.5833333333	22.2916666667	0.8916666667	-0.402512381	-1.0771590367	-1.2124139088	1.0242250114	1.2481771397	0.5465713153	0.63132138	0.0004599702
29334	843.8833333333	22.9	743	21.2333333333	1.0666666667	-0.4024984039	-1.0083639753	-1.2124139088	1.0016366252	1.1784760733	0.5691597016	0.63642152	0.0004728612
30282	843.8541666667	23.8625	757.5833333333	20.4208333333	1.375	-0.4024843829	-0.9394234699	-1.2124139088	0.9796518872	1.1073312235	0.5911444396	0.64138938	0.0004859059
31231	843.825	24.825	772.1666666667	19.6083333333	1.6833333333	-0.4024703327	-0.8704102424	-1.2124139088	0.9584220061	1.034728497	0.6123743207	0.64630023	0.0004990515
32179	843.7958333333	25.7875	786.75	18.7958333333	1.9916666667	-0.402456283	-0.8014697369	-1.2124139088	0.9381198338	0.9607501882	0.632676493	0.65095718	0.0005121406
33126	843.7666666667	26.75	801.3333333333	17.9833333333	2.3	-0.4024422337	-0.7326019535	-1.2124139088	0.9188728137	0.8853463786	0.6519235131	0.65534628	0.0005251508
34069	843.6875	27.35	742.25	17.4958333333	2.6333333333	-0.4024282296	-0.6640250583	-1.2124139088	0.9008643585	0.8087337635	0.6699319683	0.65944495	0.000489473
35014	843.6083333333	27.95	683.1666666667	17.0083333333	2.9666666667	-0.4024141815	-0.595302719	-1.2124139088	0.8841069299	0.7304198533	0.6866893969	0.66321289	0.0004530849
35954	843.5291666667	28.55	624.0833333333	16.5208333333	3.3	-0.4024001935	-0.52694399	-1.2124139088	0.8688464326	0.6510102657	0.7019498942	0.66666417	0.000416054
36892	843.45	29.15	565	16.0333333333	3.6333333333	-0.4023862213	-0.4587307051	-1.2124139088	0.855141754	0.5703178127	0.7156545728	0.66995062	0.0003785221
37826	843.3208333333	29.3583333333	666	15.9333333333	3.9	-0.4023722947	-0.3908083083	-1.2124139088	0.8431234903	0.4886110126	0.7276728365	0.67304468	0.0004482478
38756	843.1916666667	29.5666666667	767	15.8333333333	4.1666666667	-0.4023584139	-0.3231767998	-1.2124139088	0.832876938	0.4060235989	0.7379193888	0.67592669	0.0005184358
39683	843.0625	29.775	868	15.7333333333	4.4333333333	-0.4023445641	-0.2557634575	-1.2124139088	0.8244657715	0.3226299756	0.7463305553	0.67858056	0.0005890079
40603	842.9333333333	29.9833333333	969	15.6333333333	4.7	-0.4023308053	-0.1888591695	-1.2124139088	0.8179763355	0.2389857356	0.7528199913	0.68078278	0.0006596785
41522	843.4208333333	29.9708333333	932.375	15.8416666667	4.8416666667	-0.402317048	-0.1220276035	-1.2124139088	0.8134050128	0.1547613657	0.757391314	0.68250626	0.0006363518
42441	843.9083333333	29.9583333333	895.75	16.05	4.9833333333	-0.4023032772	-0.0551960376	-1.2124139088	0.8107889802	0.0700923159	0.7600073466	0.68410857	0.0006127903
43345	844.3958333333	29.9458333333	859.125	16.2583333333	5.125	-0.402289718	0.0105446976	-1.2124139088	0.8101489619	6.2697905973	0.7606473649	0.68449217	0.0005880643
44257	844.8833333333	29.9333333333	822.5	16.4666666667	5.2666666667	-0.4022760256	0.0768672091	-1.2124139088	0.8114527391	6.1856051752	0.7593435877	0.68440912	0.0005629265
45157	844.65	29.8	787.4583333333	17.0458333333	5.35	-0.4022625003	0.1423170561	-1.2124139088	0.8146464373	6.1028019645	0.7561498895	0.68420569	0.0005387835
46056	844.4166666667	29.6666666667	752.4166666667	17.625	5.4333333333	-0.4022489772	0.207694181	-1.2124139088	0.8196973516	6.0205862366	0.7510989752	0.68388395	0.0005145657
46952	844.1833333333	29.5333333333	717.375	18.2041666667	5.5166666667	-0.4022354863	0.2728531397	-1.2124139088	0.8265347689	5.9393423459	0.7442615579	0.68304806	0.0004900016
47838	843.95	29.4	682.3333333333	18.7833333333	5.6	-0.4022221334	0.3372848779	-1.2124139088	0.835005306	5.8598687523	0.7357910208	0.68196928	0.0004653304
48725	843.4958333333	29.1125	737.9166666667	19.525	5.5416666667	-0.4022087529	0.4017893382	-1.2124139088	0.8451148147	5.7813179714	0.7256815121	0.68068178	0.0005022864
49605	843.0416666667	28.825	793.5	20.2666666667	5.4833333333	-0.4021954655	0.4657847441	-1.2124139088	0.8566729209	5.7045109216	0.7141234059	0.67902201	0.000538804
50479	842.5875	28.5375	849.0833333333	21.0083333333	5.425	-0.4021822565	0.5293438177	-1.2124139088	0.8695694732	5.6294284907	0.7012268536	0.67713113	0.0005749408
51356	842.1333333333	28.25	904.6666666667	21.75	5.3666666667	-0.4021689899	0.5931210575	-1.2124139088	0.8838342679	5.555356999	0.6869620589	0.67507932	0.0006107218
52219	842.2333333333	27.8458333333	882.25	22.5958333333	5.3083333333	-0.4021559231	0.6558801885	-1.2124139088	0.8990686808	5.4837473203	0.671727646	0.67292268	0.000593686
53087	842.3333333333	27.4416666667	859.8333333333	23.4416666667	5.25	-0.4021427686	0.7190029298	-1.2124139088	0.9154895426	5.4130186877	0.6553067842	0.6706294	0.0005766295
53947	842.4333333333	27.0375	837.4166666667	24.2875	5.1916666667	-0.4021297235	0.7815438946	-1.2124139088	0.9327458368	5.3442191468	0.63805049	0.66824769	0.0005596018
54807	842.5333333333	26.6333333333	815	25.1333333333	5.1333333333	-0.4021166666	0.8440848595	-1.2124139088	0.9508853808	5.2766691153	0.619910946	0.66527151	0.0005421963
55662	842.6416666667	26.1166666667	781.9583333333	26.1666666667	5.075	-0.4021036739	0.9062622141	-1.2124139088	0.9696981845	5.2107145921	0.6010981423	0.66169001	0.000517414
56516	842.75	25.6	748.9166666667	27.2	5.0166666667	-0.4020906847	0.9683668466	-1.2124139088	0.9891693533	5.1459871033	0.5816269735	0.65799482	0.0004927833
57367	842.8583333333	25.0833333333	715.875	28.2333333333	4.9583333333	-0.4020777296	1.030253313	-1.2124139088	1.0091565961	5.08257417	0.5616397307	0.65420496	0.000468329
58220	842.9666666667	24.5666666667	682.8333333333	29.2666666667	4.9	-0.4020647325	1.0922852235	-1.2124139088	1.0296865692	5.0200382321	0.5411097576	0.65030794	0.0004440519
59074	843.0708333333	23.9291666667	611.25	30.5791666667	4.8083333333	-0.4020517084	1.1543898561	-1.2124139088	1.0506502887	4.9583896511	0.5201460381	0.64631742	0.0003950615
59930	843.175	23.2916666667	539.6666666667	31.8916666667	4.7166666667	-0.4020386422	1.2166399327	-1.2124139088	1.071988999	4.8974890476	0.4988073278	0.63860442	0.0003446335
60783	843.2791666667	22.6541666667	468.0833333333	33.2041666667	4.625	-0.4020256102	1.2786718432	-1.2124139088	1.0934949851	4.83761659	0.4773013417	0.63068013	0.0002952109
61640	843.3833333333	22.0166666667	396.5	34.5166666667	4.5333333333	-0.4020125053	1.3409946419	-1.2124139088	1.1152647132	4.7782070711	0.4555316136	0.62271083	0.0002469048
62522	844.1041666667	21.4083333333	297.375	35.8833333333	4.3833333333	-0.4019990059	1.405135492	-1.2124139088	1.1377576025	4.7177634397	0.4330387243	0.61432105	0.0001826837
63420	844.825	20.8	198.25	37.25	4.2333333333	-0.4019852489	1.4704398948	-1.2124139088	1.1606657203	4.6568687067	0.4101306065	0.6055516	0.0001200506
64320	845.5458333333	20.1916666667	99.125	38.6166666667	4.0833333333	-0.4019714483	1.5358897418	-1.2124139088	1.1835477459	4.5964083381	0.3872485809	0.5967677	5.91545982625E-05
65220	846.2666666667	19.5833333333	0	39.9833333333	3.9333333333	-0.4019576348	1.6013395887	-1.2124139088	1.2062700619	4.5364373526	0.3645262649	0.58801334	0
66120	846.3625	19.1125	0	41.475	3.675	-0.4019438084	1.6667894357	-1.2124139088	1.2287524787	4.4768778217	0.3420438481	0.57931244	0
67020	846.4583333333	18.6416666667	0	42.9666666667	3.4166666667	-0.4019299691	1.7322392826	-1.2124139088	1.2509170273	4.4176556505	0.3198792995	0.57062115	0
67920	846.5541666667	18.1708333333	0	44.4583333333	3.1583333333	-0.4019161168	1.7976891296	-1.2124139088	1.2726878187	4.3587009554	0.2981085081	0.54919789	0
68820	846.65	17.7	0	45.95	2.9	-0.4019022516	1.8631389765	-1.2124139088	1.2939909326	4.2999483772	0.2768053942	0.52823903	0
69720	846.5208333333	17.35	0	47.0666666667	2.7	-0.4018883735	1.9285888235	-1.2124139088	1.3147543401	4.2413373455	0.2560419867	0.5078071	0
70620	846.3916666667	17	0	48.1833333333	2.5	-0.4018744825	1.9940386704	-1.2124139088	1.3349078648	4.1828123054	0.235888462	0.48796292	0
71520	846.2625	16.65	0	49.3	2.3	-0.4018605785	2.0594885174	-1.2124139088	1.3543831842	4.1243229142	0.2164131426	0.46876561	0
72420	846.1333333333	16.3	0	50.4166666667	2.1	-0.4018466616	2.1249383643	-1.2124139088	1.3731138731	4.065824211	0.1976824537	0.45027256	0
73320	846.25	16.0083333333	0	51.0458333333	2.0333333333	-0.4018327318	2.1903882113	-1.2124139088	1.39103549	4.0072767616	0.1797608367	0.43253933	0
74220	846.3666666667	15.7166666667	0	51.675	1.9666666667	-0.4018187891	2.2558380582	-1.2124139088	1.4080857059	3.9486467753	0.1627106209	0.41561958	0
75120	846.4833333333	15.425	0	52.3041666667	1.9	-0.4018048334	2.3212879052	-1.2124139088	1.4242044733	3.8899061896	0.1465918535	0.39956486	0
76020	846.6	15.1333333333	0	52.9333333333	1.8333333333	-0.4017908649	2.3867377521	-1.2124139088	1.439334234	3.8310327176	0.1314620928	0.36222264	0
76920	846.5958333333	14.8625	0	53.5833333333	1.775	-0.4017768834	2.4521875991	-1.2124139088	1.453420161	3.7720098492	0.1173761658	0.32461551	0
77820	846.5916666667	14.5916666667	0	54.2333333333	1.7166666667	-0.401762889	2.517637446	-1.2124139088	1.4664104302	3.7128267992	0.1043858966	0.29023721	0
78720	846.5875	14.3208333333	0	54.8833333333	1.6583333333	-0.4017488817	2.583087293	-1.2124139088	1.4782565148	3.6534783929	0.092539812	0.25947707	0
79620	846.5833333333	14.05	0	55.5333333333	1.6	-0.4017348614	2.6485371399	-1.2124139088	1.4889134964	3.5939648826	0.0818828304	0.23186631	0
80520	846.55	13.7916666667	0	56.3791666667	1.575	-0.4017208283	2.7139869869	-1.2124139088	1.4983403834	3.5342916875	0.0724559434	0.20749303	0
81420	846.5166666667	13.5333333333	0	57.225	1.55	-0.4017067822	2.7794368338	-1.2124139088	1.5065004282	3.4744690534	0.0642958986	0.18643368	0
82320	846.4833333333	13.275	0	58.0708333333	1.525	-0.4016927232	2.8448866808	-1.2124139088	1.5133614343	3.41451163	0.0574348925	0.16875232	0
83220	846.45	13.0166666667	0	58.9166666667	1.5	-0.4016786513	2.9103365277	-1.2124139088	1.5188960419	3.3544379659	0.0519002848	0.15450003	0
84120	846.975	12.8	0	59.8166666667	1.5333333333	-0.4016645665	2.9757863747	-1.2124139088	1.5230819844	3.2942699279	0.0477143424	0.14371438	0
85020	847.5	12.5833333333	0	60.7166666667	1.5666666667	-0.4016504688	3.0412362216	-1.2124139088	1.5259023057	3.2340320502	0.0448940211	0.13641902	0
85920	848.025	12.3666666667	0	61.6166666667	1.6	-0.4016363581	3.1066860685	-1.2124139088	1.5273455318	3.173750826	0.043450795	0.13262335	0

## Data
Time	Gross power [MWe]	Net power [MWe]	Aux Load [MWe]	Online Load [MWe]	Offline Load [MWe]	PB Consumption [MWe]	Heat trace Consumption [MWe]	Salt electrical heater Consumption [MWe]	Cold salt pumps Consumption [MWe]	Hot salt pumps Consumption [MWe]	Trifunctional pumps Consumption [MWe]	SF Consumption [MWe]	Power to salts [MWt]	RTOM Energy [MWt]	Power to SGS [MWt]	Flow to tower [kg/s]	Receiver outlet temperature [ºC]	Cold tank temperature [ºC]	Hot tank temperature [ºC]	Cold tank level [m]	Hot tank level [m]	Flow to SGS [kg/s]	Temp to SGS [ºC]	DNI	HP Air Consumption [MWe]	Power recovered in downcommer [MWe]
0.0	0.0	0.0	3.9	0.0	3.9	3.2	0.2	0.0	0.0	0.0	0.0	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	0.0	0.2	0	0	0
612.0	0.0	0.0	4.3	0.0	4.3	3.5	0.2	0.0	0.0	0.0	0.0	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	0.0	0.2	0	0	0
1188.0	0.0	0.0	4.3	0.0	4.3	3.5	0.2	0.0	0.0	0.0	0.0	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	0.0	0.2	0	0	0
1800.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	2.0	0.0	288.0	288.0	565.0	10.9	0.9	166.7	259.2	0	0	0
2412.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
2988.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
3600.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
4212.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
4788.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
5400.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
6012.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
6588.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
7200.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
7812.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
8388.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
9000.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
9612.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
10188.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
10800.0	0.0	0.0	4.5	0.0	4.5	3.5	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
11412.0	0.0	0.0	4.5	0.0	4.5	3.6	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
11988.0	0.0	0.0	4.5	0.0	4.5	3.6	0.2	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
12600.0	0.0	0.0	5.2	0.0	5.2	3.6	0.8	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
13212.0	0.0	0.0	5.0	0.0	5.0	3.6	0.7	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
13788.0	0.0	0.0	5.0	0.0	5.0	3.6	0.7	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
14400.0	0.0	0.0	5.1	0.0	5.1	3.6	0.7	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
15012.0	0.0	0.0	5.1	0.0	5.1	3.6	0.7	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
15588.0	0.0	0.0	5.1	0.0	5.1	3.6	0.7	0.0	0.0	0.0	0.2	0.1	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
16200.0	0.0	0.0	5.5	0.0	5.5	3.6	0.7	0.0	0.0	0.0	0.2	0.6	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
16812.0	0.0	0.0	5.6	0.0	5.6	3.6	0.7	0.0	0.0	0.0	0.2	0.6	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
17388.0	0.0	0.0	5.6	0.0	5.6	3.6	0.7	0.0	0.0	0.0	0.2	0.6	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
18000.0	0.0	0.0	5.6	0.0	5.6	3.5	0.7	0.0	0.0	0.0	0.2	0.6	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
18612.0	0.0	0.0	5.6	0.0	5.6	3.5	0.7	0.0	0.0	0.0	0.2	0.6	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
19188.0	0.0	0.0	5.6	0.0	5.6	3.5	0.7	0.0	0.0	0.0	0.2	0.6	0.0	0.0	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	0	0	0
19800.0	0.0	0.0	5.3	0.0	5.3	3.5	0.7	0.0	0.0	0.0	0.2	0.6	0.0	23.4	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	170	0	0
20412.0	0.0	0.0	5.3	0.0	5.3	3.5	0.7	0.0	0.0	0.0	0.2	0.6	0.0	80.8	0.0	0.0	288.0	288.0	565.0	10.9	0.9	185.2	288.0	170	0	0
20988.0	0.0	0.0	7.6	0.0	7.6	3.5	0.4	0.0	2.5	0.0	0.2	0.6	0.0	138.6	0.0	591.7	287.7	288.0	565.0	10.9	0.9	185.2	288.0	170	0.03082	0
21600.0	0.0	0.0	7.8	0.0	7.8	3.5	0.2	0.0	3.0	0.0	0.2	0.6	108.6	196.3	0.0	447.0	456.7	288.0	563.4	10.9	0.9	185.2	288.0	170	0.0030666667	0
22212.0	0.0	0.0	8.1	0.0	8.1	3.5	0.2	0.0	3.4	0.0	0.2	0.6	252.8	254.1	0.0	599.6	568.1	288.0	563.9	10.8	1.0	185.2	288.0	170	0.0030666667	0
22788.0	0.0	0.0	8.6	0.0	8.6	3.5	0.2	0.0	3.9	0.0	0.2	0.6	310.4	311.8	0.0	736.7	567.4	288.0	564.3	10.7	1.2	185.2	288.0	170	0.0030666667	0
23400.0	0.0	0.0	8.9	0.0	8.9	3.5	0.2	0.0	4.2	0.0	0.2	0.6	357.6	358.6	0.0	849.2	566.1	288.0	564.5	10.5	1.3	185.2	288.0	604	0.0030666667	0
24012.0	0.0	0.0	9.1	0.0	9.1	3.5	0.2	0.0	4.5	0.0	0.2	0.6	388.5	389.6	0.0	922.9	565.8	288.0	564.6	10.4	1.4	185.2	288.0	604	0.0030666667	0
24588.0	0.0	0.0	9.3	0.0	9.3	3.5	0.2	0.0	4.7	0.0	0.2	0.6	419.4	420.5	0.0	996.2	565.7	288.0	564.7	10.2	1.6	185.2	288.0	604	0.0030666667	0
25200.0	0.0	0.0	9.5	0.0	9.5	3.5	0.2	0.0	4.9	0.0	0.1	0.6	450.2	451.4	6.4	1069.5	565.7	288.0	564.8	10.1	1.8	110.3	399.5	604	0.0030666667	0
25812.0	7.7	2.7	9.2	5.0	4.2	2.9	0.2	0.0	5.1	0.1	0.1	0.6	481.1	482.2	26.6	1142.7	565.6	288.0	564.9	9.9	2.0	100.3	483.4	604	0.0030666667	0
26388.0	60.8	50.8	10.0	10.0	0.0	3.2	0.2	0.0	5.3	0.4	0.2	0.6	512.0	513.1	152.8	1216.0	565.6	288.1	565.0	9.8	2.1	469.4	514.4	604	0.0030666667	0
27000.0	103.7	92.0	11.7	11.7	0.0	4.7	0.2	0.0	5.4	0.5	0.1	0.5	531.5	532.3	248.0	1263.2	564.8	288.1	564.9	9.7	2.2	633.9	551.4	708	0.0030666667	0
27612.0	113.5	101.3	12.1	12.1	0.0	5.1	0.2	0.0	5.4	0.6	0.0	0.5	533.6	534.5	270.7	1268.8	564.7	288.1	564.9	9.6	2.3	652.3	564.9	708	0.0030666667	0
28188.0	113.9	101.7	12.1	12.1	0.0	5.1	0.2	0.0	5.5	0.6	0.0	0.5	535.7	536.5	272.0	1273.8	564.7	288.2	564.9	9.5	2.4	655.0	564.9	708	0.0030666667	0
28800.0	113.9	101.7	12.2	12.2	0.0	5.2	0.2	0.0	5.5	0.6	0.0	0.5	537.8	538.6	272.3	1278.9	564.7	288.2	564.9	9.4	2.5	656.0	564.9	708	0.0030666667	0
29412.0	113.9	101.6	12.3	12.3	0.0	5.3	0.2	0.0	5.5	0.6	0.0	0.5	539.8	540.7	272.7	1284.0	564.7	288.3	564.9	9.3	2.6	657.0	564.9	708	0.0030666667	0
29988.0	113.9	101.5	12.4	12.4	0.0	5.3	0.2	0.0	5.5	0.6	0.0	0.5	541.9	542.7	273.2	1289.1	564.7	288.3	564.9	9.2	2.7	658.1	564.9	708	0.0030666667	0
30600.0	113.9	101.4	12.5	12.5	0.0	5.4	0.2	0.0	5.6	0.6	0.0	0.5	553.5	554.7	273.6	1316.4	565.3	288.3	564.9	9.1	2.8	659.1	564.9	689	0.0030666667	0
31212.0	113.9	101.1	12.8	12.8	0.0	5.5	0.2	0.0	5.8	0.6	0.0	0.5	579.9	580.9	274.1	1379.0	565.4	288.4	564.9	8.9	2.9	660.1	564.9	689	0.0030666667	0
31788.0	113.9	100.8	13.1	13.1	0.0	5.6	0.2	0.0	5.9	0.6	0.0	0.5	606.3	607.4	274.5	1441.9	565.4	288.4	565.0	8.8	3.1	661.1	564.9	689	0.0030666667	0
32400.0	113.9	100.6	13.3	13.3	0.0	5.6	0.2	0.0	6.1	0.6	0.0	0.5	632.7	633.8	275.0	1504.9	565.3	288.5	565.0	8.7	3.2	662.2	565.0	689	0.0030666667	0
33012.0	113.9	100.3	13.6	13.6	0.0	5.7	0.2	0.0	6.3	0.6	0.0	0.5	659.1	660.2	275.4	1568.0	565.3	288.5	565.0	8.6	3.4	663.2	565.0	689	0.0030666667	0
33588.0	113.9	100.1	13.8	13.8	0.0	5.8	0.2	0.0	6.5	0.6	0.0	0.5	685.5	686.6	275.9	1631.0	565.3	288.5	565.0	8.4	3.5	664.3	565.0	689	0.0030666667	0
34200.0	113.9	100.1	13.8	13.8	0.0	5.8	0.2	0.0	6.5	0.6	0.0	0.5	682.4	682.7	276.4	1625.7	563.8	288.6	565.0	8.3	3.7	665.5	565.0	862	0.0030666667	0
34812.0	113.9	100.4	13.5	13.5	0.0	5.8	0.2	0.0	6.2	0.6	0.0	0.5	634.2	634.6	276.8	1511.9	563.5	288.6	564.9	8.1	3.8	666.8	564.9	862	0.0030666667	0
35388.0	113.9	100.7	13.2	13.2	0.0	5.8	0.2	0.0	5.8	0.6	0.0	0.5	585.8	586.1	277.2	1396.8	563.4	288.7	564.8	8.0	3.9	668.0	564.8	862	0.0030666667	0
36000.0	113.8	101.0	12.9	12.9	0.0	5.8	0.2	0.0	5.5	0.6	0.0	0.5	537.4	537.7	277.8	1281.6	563.3	288.7	564.7	7.9	4.0	669.6	564.7	862	0.0030666667	0
36612.0	113.8	101.3	12.5	12.5	0.0	5.8	0.2	0.0	5.2	0.6	0.0	0.5	488.9	489.2	278.4	1166.4	563.1	288.8	564.6	7.8	4.1	671.3	564.6	862	0.0030666667	0
37188.0	113.8	101.6	12.2	12.2	0.0	5.8	0.2	0.0	4.8	0.6	0.0	0.5	440.5	440.8	279.1	1051.1	562.9	288.8	564.5	7.8	4.2	673.0	564.6	862	0.0030666667	0
37800.0	113.9	101.7	12.2	12.2	0.0	5.8	0.2	0.0	4.7	0.6	0.0	0.5	429.2	430.8	279.7	1022.7	565.8	288.9	564.6	7.7	4.2	674.5	564.6	521	0.0030666667	0
38412.0	114.0	101.5	12.5	12.5	0.0	5.8	0.2	0.0	5.0	0.6	0.0	0.5	475.5	476.8	280.0	1132.0	566.2	288.9	564.7	7.6	4.3	675.2	564.6	521	0.0030666667	0
38988.0	114.0	101.1	12.8	12.8	0.0	5.9	0.2	0.0	5.4	0.6	0.0	0.5	522.0	523.2	280.3	1242.8	566.1	288.9	564.7	7.6	4.4	675.5	564.7	521	0.0030666667	0
39600.0	114.0	100.8	13.1	13.1	0.0	5.9	0.2	0.0	5.7	0.7	0.0	0.5	568.4	569.7	280.5	1353.7	566.0	289.0	564.8	7.4	4.5	675.9	564.8	521	0.0030666667	0
40212.0	114.0	100.5	13.5	13.5	0.0	5.9	0.2	0.0	6.0	0.7	0.0	0.5	614.9	616.2	280.7	1464.7	565.9	289.0	564.8	7.3	4.6	676.3	564.8	521	0.0030666667	0
40788.0	114.0	100.2	13.8	13.8	0.0	5.9	0.2	0.0	6.3	0.7	0.0	0.5	661.4	662.6	280.9	1575.6	565.8	289.1	564.9	7.2	4.8	676.6	564.9	521	0.0030666667	0
41400.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.5	0.7	0.0	0.4	689.3	690.0	281.1	1643.5	564.9	289.1	564.9	7.0	4.9	677.0	564.9	938	0.0030666667	0
42012.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.5	0.7	0.0	0.4	688.7	689.5	281.1	1642.8	564.7	289.2	564.9	6.9	5.1	677.1	564.9	938	0.0030666667	0
42588.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.5	0.7	0.0	0.4	688.0	688.8	281.2	1641.4	564.7	289.2	564.9	6.7	5.3	677.2	564.9	938	0.0030666667	0
43200.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.5	0.7	0.0	0.4	687.3	688.1	281.2	1639.9	564.7	289.2	564.9	6.6	5.4	677.3	564.9	938	0.0030666667	0
43812.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.5	0.7	0.0	0.4	686.6	687.4	281.2	1638.4	564.7	289.3	564.9	6.4	5.6	677.4	564.9	938	0.0030666667	0
44388.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.5	0.7	0.0	0.4	685.9	686.7	281.2	1637.0	564.7	289.3	564.9	6.3	5.7	677.4	564.9	938	0.0030666667	0
45000.0	114.0	100.1	13.9	13.9	0.0	5.9	0.2	0.0	6.4	0.7	0.0	0.5	671.7	672.2	281.2	1604.4	564.0	289.4	564.8	6.1	5.9	677.5	564.8	900	0.0030666667	0
45612.0	114.0	100.4	13.6	13.6	0.0	5.9	0.2	0.0	6.2	0.7	0.0	0.5	637.1	637.6	281.1	1522.2	563.9	289.4	564.8	6.0	6.0	677.3	564.8	900	0.0030666667	0
46188.0	114.0	100.6	13.4	13.4	0.0	5.9	0.2	0.0	6.0	0.7	0.0	0.5	602.3	602.8	281.0	1439.5	563.8	289.5	564.7	5.9	6.2	677.2	564.8	900	0.0030666667	0
46800.0	114.0	100.9	13.1	13.1	0.0	5.9	0.2	0.0	5.7	0.7	0.0	0.5	567.6	568.0	280.9	1356.7	563.8	289.5	564.7	5.8	6.3	677.0	564.7	900	0.0030666667	0
47412.0	114.0	101.1	12.9	12.9	0.0	5.9	0.2	0.0	5.5	0.7	0.0	0.5	532.8	533.3	280.8	1273.9	563.7	289.6	564.7	5.7	6.4	676.9	564.7	900	0.0030666667	0
47988.0	114.0	101.4	12.7	12.7	0.0	5.9	0.2	0.0	5.2	0.7	0.0	0.5	498.1	498.5	280.7	1191.0	563.6	289.6	564.6	5.6	6.5	676.7	564.7	900	0.0030666667	0
48600.0	114.0	101.4	12.6	12.6	0.0	5.9	0.2	0.0	5.2	0.7	0.0	0.5	490.4	491.7	280.6	1171.5	565.5	289.6	564.7	5.5	6.5	676.4	564.6	619	0.0030666667	0
49212.0	114.0	101.2	12.8	12.8	0.0	5.9	0.2	0.0	5.4	0.7	0.0	0.5	524.6	525.7	280.4	1252.5	565.8	289.7	564.7	5.4	6.6	676.0	564.7	619	0.0030666667	0
49788.0	114.0	101.0	13.1	13.1	0.0	5.8	0.2	0.0	5.6	0.6	0.0	0.5	558.9	560.0	280.2	1334.7	565.7	289.7	564.7	5.3	6.7	675.4	564.7	619	0.0030666667	0
50400.0	114.0	100.8	13.3	13.3	0.0	5.8	0.2	0.0	5.9	0.6	0.0	0.5	593.2	594.3	280.0	1416.9	565.7	289.8	564.8	5.2	6.9	674.9	564.7	619	0.0030666667	0
51012.0	114.0	100.5	13.5	13.5	0.0	5.8	0.2	0.0	6.1	0.6	0.0	0.5	627.5	628.6	279.8	1499.1	565.6	289.8	564.8	5.1	7.0	674.3	564.8	619	0.0030666667	0
51588.0	114.0	100.3	13.8	13.8	0.0	5.8	0.2	0.0	6.3	0.6	0.0	0.5	661.8	663.0	279.7	1581.4	565.6	289.9	564.8	4.9	7.1	673.8	564.8	619	0.0030666667	0
52200.0	114.1	100.1	13.9	13.9	0.0	5.8	0.2	0.0	6.5	0.6	0.0	0.5	677.9	678.6	279.4	1621.3	564.6	289.9	564.8	4.8	7.3	673.2	564.8	909	0.0030666667	0
52812.0	114.1	100.2	13.8	13.8	0.0	5.8	0.2	0.0	6.4	0.6	0.0	0.5	666.3	667.0	279.1	1594.0	564.5	290.0	564.8	4.6	7.5	672.4	564.8	909	0.0030666667	0
53388.0	114.1	100.3	13.7	13.7	0.0	5.8	0.2	0.0	6.3	0.6	0.0	0.5	654.4	655.1	278.8	1565.9	564.5	290.0	564.8	4.5	7.6	671.6	564.8	909	0.0030666667	0
54000.0	114.1	100.4	13.6	13.6	0.0	5.8	0.2	0.0	6.2	0.6	0.0	0.5	642.6	643.3	278.4	1537.8	564.5	290.1	564.8	4.4	7.7	670.8	564.8	909	0.0030666667	0
54612.0	114.1	100.5	13.6	13.6	0.0	5.8	0.2	0.0	6.1	0.6	0.0	0.5	630.7	631.4	278.1	1509.7	564.5	290.1	564.8	4.2	7.9	670.0	564.8	909	0.0030666667	0
55188.0	114.1	100.6	13.5	13.5	0.0	5.8	0.2	0.0	6.1	0.6	0.0	0.5	618.9	619.6	277.7	1481.6	564.5	290.1	564.8	4.1	8.0	669.2	564.8	909	0.0030666667	0
55800.0	114.1	100.7	13.4	13.4	0.0	5.8	0.2	0.0	6.0	0.6	0.0	0.5	602.3	602.9	277.4	1442.6	564.2	290.2	564.7	4.0	8.1	668.4	564.8	832	0.0030666667	0
56412.0	114.0	100.8	13.2	13.2	0.0	5.8	0.2	0.0	5.8	0.6	0.0	0.5	578.6	579.2	277.1	1386.1	564.1	290.2	564.7	3.9	8.3	667.8	564.7	832	0.0030666667	0
56988.0	114.0	101.0	13.0	13.0	0.0	5.8	0.2	0.0	5.6	0.6	0.0	0.5	554.8	555.4	276.8	1329.4	564.1	290.3	564.7	3.8	8.4	667.1	564.7	832	0.0030666667	0
57600.0	114.0	101.2	12.8	12.8	0.0	5.8	0.2	0.0	5.5	0.6	0.0	0.5	531.1	531.6	276.5	1272.7	564.1	290.3	564.7	3.7	8.5	666.5	564.7	832	0.0030666667	0
58212.0	114.0	101.4	12.7	12.7	0.0	5.7	0.2	0.0	5.3	0.6	0.0	0.5	507.3	507.9	276.3	1216.0	564.0	290.4	564.7	3.6	8.6	665.9	564.7	832	0.0030666667	0
58788.0	114.0	101.5	12.5	12.5	0.0	5.7	0.2	0.0	5.1	0.6	0.0	0.5	483.5	484.1	276.0	1159.2	564.0	290.4	564.7	3.5	8.6	665.3	564.7	832	0.0030666667	0
59400.0	114.0	101.8	12.3	12.3	0.0	5.7	0.2	0.0	4.9	0.6	0.0	0.6	449.8	450.0	275.7	1078.9	563.2	290.5	564.6	3.4	8.7	664.7	564.6	709	0.0030666667	0
60012.0	114.0	102.1	11.9	11.9	0.0	5.7	0.2	0.0	4.6	0.6	0.0	0.6	400.6	400.8	275.4	961.4	562.9	290.5	564.6	3.4	8.8	664.1	564.6	709	0.0030666667	0
60588.0	114.0	102.5	11.5	11.5	0.0	5.6	0.2	0.0	4.3	0.6	0.0	0.6	351.3	351.5	275.1	843.3	562.6	290.6	564.6	3.4	8.8	663.4	564.6	709	0.0030666667	0
61200.0	114.0	103.0	11.1	11.1	0.0	5.6	0.2	0.0	3.9	0.6	0.0	0.6	302.1	302.3	274.9	725.2	562.3	290.6	564.5	3.4	8.8	662.8	564.5	709	0.0030666667	0
61812.0	114.0	103.4	10.6	10.6	0.0	5.5	0.2	0.0	3.5	0.6	0.0	0.6	252.8	253.0	274.6	607.1	561.8	290.7	564.5	3.4	8.8	662.2	564.5	709	0.0030666667	0
62388.0	114.0	103.8	10.2	10.2	0.0	5.5	0.2	0.0	3.1	0.6	0.0	0.6	203.6	203.7	274.3	488.8	561.2	290.7	564.5	3.4	8.8	661.6	564.5	709	0.0030666667	0
63000.0	114.0	104.4	9.6	9.6	0.0	5.4	0.2	0.0	2.8	0.6	0.0	0.4	162.0	162.6	274.0	389.2	561.9	290.7	564.4	3.4	8.7	661.0	564.5	473	0.0030666667	0
63612.0	114.0	102.8	11.2	11.2	0.0	5.4	0.2	0.0	4.4	0.6	0.0	0.4	159.2	133.5	273.6	1014.3	458.0	292.3	564.1	3.5	8.7	660.5	564.3	473	0.0030666667	0
64188.0	114.0	102.8	11.2	11.2	0.0	5.3	0.2	0.0	4.5	0.6	0.0	0.4	84.2	104.5	273.4	969.8	387.9	294.2	563.9	3.6	8.6	660.5	564.0	473	0.0030666667	0
64800.0	114.0	105.3	8.6	8.6	0.0	5.3	0.6	0.0	1.5	0.6	0.0	0.4	53.8	75.5	272.9	240.7	396.8	294.4	563.5	3.7	8.5	660.5	563.6	473	0.00138	0
65412.0	114.0	106.9	7.1	7.1	0.0	5.2	0.7	0.0	0.0	0.6	0.0	0.4	0.0	46.4	272.8	0.0	371.1	294.3	563.5	3.8	8.4	660.5	563.5	473	0	0
65988.0	114.1	107.0	7.1	7.1	0.0	5.2	0.7	0.0	0.0	0.6	0.0	0.4	0.0	17.4	272.6	0.0	371.1	294.2	563.5	3.9	8.3	659.9	563.5	473	0	0
66600.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.1	272.3	0.0	371.1	294.2	563.5	4.0	8.2	659.3	563.5	26	0	0
67212.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	272.1	0.0	371.1	294.1	563.5	4.1	8.1	658.9	563.5	26	0	0
67788.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	272.0	0.0	371.1	294.1	563.5	4.2	8.0	658.7	563.5	26	0	0
68400.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.9	0.0	371.1	294.0	563.5	4.3	7.8	658.4	563.5	26	0	0
69012.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.8	0.0	371.1	294.0	563.5	4.4	7.7	658.2	563.5	26	0	0
69588.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.7	0.0	371.1	293.9	563.5	4.5	7.6	658.0	563.5	26	0	0
70200.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.7	0.0	371.1	293.9	563.5	4.6	7.5	657.8	563.5	0	0	0
70812.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.6	0.0	371.1	293.8	563.5	4.7	7.4	657.6	563.5	0	0	0
71388.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.5	0.0	371.1	293.8	563.5	4.8	7.3	657.4	563.5	0	0	0
72000.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.5	0.0	371.1	293.8	563.5	4.9	7.2	657.3	563.5	0	0	0
72612.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.4	0.0	371.1	293.7	563.5	5.0	7.1	657.1	563.5	0	0	0
73188.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.3	0.0	371.1	293.7	563.5	5.1	7.0	657.0	563.5	0	0	0
73800.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.3	0.0	371.1	293.7	563.5	5.2	6.9	656.8	563.5	0	0	0
74412.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.2	0.0	371.1	293.6	563.5	5.3	6.8	656.7	563.5	0	0	0
74988.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.2	0.0	371.1	293.6	563.5	5.4	6.7	656.6	563.5	0	0	0
75600.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.1	0.0	371.1	293.6	563.5	5.5	6.5	656.4	563.5	0	0	0
76212.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.1	0.0	371.1	293.5	563.5	5.6	6.4	656.3	563.5	0	0	0
76788.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.0	0.0	371.1	293.5	563.5	5.7	6.3	656.2	563.5	0	0	0
77400.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	271.0	0.0	371.1	293.5	563.5	5.8	6.2	656.1	563.5	0	0	0
78012.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.9	0.0	371.1	293.5	563.5	5.9	6.1	656.0	563.5	0	0	0
78588.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.9	0.0	371.1	293.4	563.5	6.0	6.0	655.9	563.5	0	0	0
79200.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.8	0.0	371.1	293.4	563.5	6.1	5.9	655.7	563.5	0	0	0
79812.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.8	0.0	371.1	293.4	563.5	6.2	5.8	655.6	563.5	0	0	0
80388.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.7	0.0	371.1	293.4	563.5	6.3	5.7	655.5	563.5	0	0	0
81000.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.7	0.0	371.1	293.3	563.5	6.4	5.6	655.4	563.5	0	0	0
81612.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.6	0.0	371.1	293.3	563.5	6.5	5.5	655.3	563.5	0	0	0
82188.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.6	0.0	371.1	293.3	563.5	6.7	5.4	655.2	563.5	0	0	0
82800.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.5	0.0	371.1	293.3	563.5	6.8	5.3	655.1	563.5	0	0	0
83412.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.5	0.0	371.1	293.3	563.5	6.9	5.1	654.9	563.5	0	0	0
83988.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.4	0.0	371.1	293.2	563.5	7.0	5.0	654.8	563.5	0	0	0
84600.0	114.0	107.0	7.0	7.0	0.0	5.1	0.7	0.0	0.0	0.6	0.0	0.1	0.0	0.0	270.4	0.0	371.1	293.2	563.5	7.1	4.9	654.7	563.5	0	0	0